## 脱硫系统运行日报
韶钢炼铁厂 6 #烧结脱硫系统运行日报表
时间 | 高硫CEMS进、出口数据 | [13 empty] | 低硫CEMS进、出口数据 | [11 empty] | 高硫塔数据 | [9 empty] | 低硫塔数据 | [7 empty] | 高硫 清液池 液位 | 低硫 清液池 液位 | 高硫 再生流量 | 低硫 再生流量 | 高硫喷淋泵 | [5 empty] | 低硫喷淋泵 |  |  |  | 增压风机 | [6 empty] | 外排水 流量 | 氧化槽，mV | 碱液罐液位 | 排污地坑池液位 | 浆料泵流量 | 比重 |  | 其他数据
| SO2 |  |  | 烟气流量 |  | 温度 |  | 氮氧化物 |  |  | 烟尘含量 |  | 氧含量 |  | SO2 |  | 烟气流量 |  | 温度 |  | 氮氧化物 |  | 烟尘含量 |  | 氧含量 |  | 塔前 |  |  |  |  | 塔内 |  |  |  |  | 塔前 |  |  | 塔内 | [8 empty] | 上层 |  | 中层 |  | 下层 |  | 上层 |  | 中层 |  | 振动 |  | 温度 |  |  | 电流 | 频率 | [5 empty] | 高硫塔底 | 低硫塔底
| 进口 | 出口 | 脱硫率 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 脱硝率 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 进口 | 出口 | 温度1 | 温度2 | 塔前压力 | 南面主抽压力 | 进口压力 | 温度1 | 温度2 | 温度3 | 液位 | PH值 | 温度1 | 温度2 | 塔前压力 | 温度1 | 温度2 | 温度3 | 液位 | PH值 |  |  |  |  | 流量 | 电流 | 流量 | 电流 | 流量 | 电流 | 流量 | 电流 | 流量 | 电流 | 水平 | 垂直 | 前轴承 | 中轴承 | 后轴承
0:00:00 | [72 empty] | 出泥数： 次
1:00:00
2:00:01
3:00:00
4:00:01
5:00:00 | [72 empty] | MgO投入量： 包
6:00:01
7:00:01
8:00:01
9:00:00
10:00:01 | [72 empty] | 排水量： 吨
11:00:00
12:00:01
13:00:00
14:00:01
15:00:00 | [72 empty] | 碱液存量： 吨
16:00:01
17:00:00
18:00:01
19:00:00
20:00:01 | [72 empty] | 除雾器清洗： 次
21:00:00
22:00:01
23:00:00
早班报警次数
中班报警次数
晚班报警次数
备注：

## _sj6_day_all
ST6_ENVR_DeSN_HSInSO2_1h_avg | ST6_ENVR_DeSN_HSOutSO2_1h_avg | ST6_ENVR_DeSN_HSInAirVlm_1h_avg | ST6_ENVR_DeSN_HSOutAirVlm_1h_avg | ST6_ENVR_DeSN_HSInSmokeTe_1h_avg | ST6_ENVR_DeSN_HSOutSmokeTe_1h_avg | ST6_ENVR_DeSN_HSInNOx_1h_avg | ST6_ENVR_DeSN_HSOutNOx_1h_avg | ST6_ENVR_DeSN_HSInSmoke_1h_avg | ST6_ENVR_DeSN_HSOutSmoke_1h_avg | ST6_ENVR_DeSN_HSInSmokeO2_1h_avg | ST6_ENVR_DeSN_HSOutSmokeO2_1h_avg | ST6_ENVR_DeSN_LSInSO2_1h_avg | ST6_ENVR_DeSN_LSOutSO2_1h_avg | ST6_ENVR_DeSN_LSInSmoke_1h_avg | ST6_ENVR_DeSN_LSOutSmoke_1h_avg | ST6_ENVR_DeSN_LSInSmokeTe_1h_avg | ST6_ENVR_DeSN_LSOutSmokeTe_1h_avg | ST6_ENVR_DeSN_LSInNOx_1h_avg | ST6_ENVR_DeSN_LSOutNOx_1h_avg | ST6_ENVR_DeSN_LSInSmoke_1h_avg | ST6_ENVR_DeSN_LSOutSmoke_1h_avg | ST6_ENVR_DeSN_LSInSmokeO2_1h_avg | ST6_ENVR_DeSN_LSOutSmokeO2_1h_avg | ST6_L1R_DeSN_HsFTe1_1h_avg | ST6_L1R_DeSN_HsFTe2_1h_avg | ST6_L1R_DeSN_HsFPr_1h_avg | ST6_L1R_DeSN_HSTowSouthMainEXPI_1h_avg | ST6_L1R_DeSN_IHsFPr_1h_avg | ST6_L1R_DeSN_HsITe1_1h_avg | ST6_L1R_DeSN_HsITe2_1h_avg | ST6_L1R_DeSN_HsITe3_1h_avg | ST6_L1R_DeSN_HsILiL_1h_avg | ST6_L1R_DeSN_HsIPH_1h_avg | ST6_L1R_DeSN_LsFTe1_1h_avg | ST6_L1R_DeSN_LsFTe2_1h_avg | ST6_L1R_DeSN_LsFPr_1h_avg | ST6_L1R_DeSN_LsITe1_1h_avg | ST6_L1R_DeSN_LsITe2_1h_avg | ST6_L1R_DeSN_LsITe3_1h_avg | ST6_L1R_DeSN_LsILiL_1h_avg | ST6_L1R_DeSN_LsIPH_1h_avg | ST6_L1R_DeSN_HsCLiL_1h_avg | ST6_L1R_DeSN_LsCLiL_1h_avg | ST6_L1R_DeSN_HsReRa_1h_avg | ST6_L1R_DeSN_LsReRa_1h_avg | ST6_L1R_DeSN_HsSpUpTraffic_1h_avg | ST6_L1R_DeSN_HsSpUpCurrent_1h_avg | ST6_L1R_DeSN_HsSpMiTraffic_1h_avg | ST6_L1R_DeSN_HsSpMiCurrent_1h_avg | ST6_L1R_DeSN_HsSpLoTraffic_1h_avg | ST6_L1R_DeSN_HsSpLoCurrent_1h_avg | ST6_L1R_DeSN_LsSpUpTraffic_1h_avg | ST6_L1R_DeSN_LsSpUpCurrent_1h_avg | ST6_L1R_DeSN_LsSpMiTraffic_1h_avg | ST6_L1R_DeSN_LsSpMiCurrent_1h_avg | ST6_L1R_DeSN_BlFaHVibration_1h_avg | ST6_L1R_DeSN_BlFaVVibration_1h_avg | ST6_L1R_DeSN_BlFaFTe_1h_avg | ST6_L1R_DeSN_BlFaMTe_1h_avg | ST6_L1R_DeSN_BlFaBTe_1h_avg | ST6_L1R_DeSN_BlFaCurrent_1h_avg | ST6_L1R_DeSN_BlFaFrequency_1h_avg | ST6_L1R_DeSN_OutsideWaterFlow_1h_avg | ST6_L1R_DeSN_OxidationTank_1h_avg | ST6_L1R_DeSN_LyeTankLevel_1h_avg | ST6_L1R_DeSN_PollutionLevel_1h_avg | ST6_L1R_DeSN_PumpFlow_1h_avg

## _dictionary
version | 6