## 2.7#焦炉加热制度表（日）
7# 焦 炉 加 热 制 度 记 录
编号：SGSSG-BSMCS35-G003-11A
记录时间 | 煤气流量（m3/h） | [9 empty] | 煤气压力（Pa） |  |  |  |  | 煤气温度（℃） |  |  | 烟道吸力（Pa） |  | 烟道温度（℃） |  | 集气管(A) |  | 集气管(B) |  | 标准蓄热室吸力（Pa） | [7 empty] | 焦炉煤气热值 | 高炉煤气热值 | 焦炉外排烟气
| 焦炉煤气 | [5 empty] | 高炉煤气 |  |  |  | 焦炉煤气 |  | 高炉煤气总管 | 机侧 混合 煤气 | 焦侧 混合 煤气 | 焦炉煤气预热器 |  | 高炉煤气
| 总管 |  | 混合用焦炉煤气 |  |  |  | 机侧 |  | 焦侧 |  | 总管 | 主管 | [6 empty] | 机侧 | 焦侧 | 机侧 | 焦侧 | 温度 | 压力 | 温度 | 压力 | 机侧 |  |  |  | 焦侧 | [5 empty] | 二氧化硫 | 氮氧化物 | 烟尘浓度 | 氧含量 | 烟气温度 | 烟气流速 | 标况风量 | 烟气湿度 | 烟气压力
| 流量 | 累积 (万m3) | 机侧 | 累积 (万m3) | 焦侧 | 累积 (万m3) | 流量 | 累积 (万m3) | 流量 | 累积 (万m3) | [5 empty] | 前 | 后 | 主管 | 温度: ℃; 压力: Pa; 温度: ℃; 压力: Pa; 机侧: 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | Kj/Nm3 | Kj/Nm3 | mg/m3 | mg/m3 | mg/m3 | % | ℃ | m/s | 万m3/h | % | kPa
管控范围 | ±200 |  | ±100 |  | ±100 | [6 empty] | ±200 |  | ±150 | ±150 |  | ＜50 |  | 机侧: ±10; 焦侧: ±10; 温度: ＜90; 温度: ＜90 | [7 empty] | ≥17500 |  | ≤45 | ≤450
上限 | 200 |  | 100 |  | 100 | [6 empty] | 9999 |  | 150 | 150 |  | 50 |  | 机侧: 10; 焦侧: 10; 温度: 90; 温度: 90 | [7 empty] | 9999999 |  | 45 | 450
下限 | -200 |  | -100 |  | -100 | [6 empty] | -9999 |  | -150 | -150 |  | 0 |  | 机侧: -10; 焦侧: -10; 温度: 0; 温度: 0 | [7 empty] | 17500 |  | -999 | -999
L2存储点名 | CK67_L1R_CI_31FT1301COGHePipe_1m_avg | CK67_L1R_CI_31FT1301COGHePipeAcc_1m_avg | CK67_L1R_CI_31FT1304MCOGPusherSide_1m_avg | CK67_L1R_CI_31FT1304MCOGPusherSideAcc_1m_avg | CK67_L1R_CI_31FT1305MCOGCokeSide_1m_avg | CK67_L1R_CI_31FT1305MCOGCokeSideAcc_1m_avg | CK67_L1R_CI_31FT1302BFGPusherSide_1m_avg | CK67_L1R_CI_31FT1302BFGPusherSideAcc_1m_avg | CK67_L1R_CI_31FT1303BFGCokeSide_1m_avg | CK67_L1R_CI_31FT1303BFGCokeSideAcc_1m_avg | CK67_L1R_CI_31PT1301COGHePipe_1m_avg | CK67_L1R_CI_31PT1302COGMainPipe_1m_avg | CK67_L1R_CI_31PT1303BFGHePipe_1m_avg | CK67_L1R_CI_31PT1304MIXGPusherSide_1m_avg | CK67_L1R_CI_31PT1305MIXGCokeSide_1m_avg | CK67_L1R_CI_31TE1301COGPreheaterFr_1m_avg | CK67_L1R_CI_31TE1302COGPreheaterBe_1m_avg | CK67_L1R_CI_31TE1303BFGMainPipe_1m_avg | CK67_L1R_CI_31PT1306FluePusherSide_1m_avg | CK67_L1R_CI_31PT1307FlueCokeSide_1m_avg | CK67_L1R_CI_31TE1304FluePusherSide_1m_avg | CK67_L1R_CI_31TE1305FlueCokeSide_1m_avg | CK67_L1R_CI_31TE1306AGasCollector_1m_avg | CK67_L1R_CI_31PT1311AGasCollector_1m_avg | CK67_L1R_CI_31TE1306BGasCollector_1m_avg | CK67_L1R_CI_31PT1312BGasCollector_1m_avg | CK67_L1R_CI_31PT1308AStdRgPusherSide_1m_avg | CK67_L1R_CI_31PT1308BStdRgPusherSide_1m_avg | CK67_L1R_CI_31PT1308CStdRgPusherSide_1m_avg | CK67_L1R_CI_31PT1308DStdRgPusherSide_1m_avg | CK67_L1R_CI_31PT1309AStdRgCokeSide_1m_avg | CK67_L1R_CI_31PT1309BStdRgCokeSide_1m_avg | CK67_L1R_CI_31PT1309CStdRgCokeSide_1m_avg | CK67_L1R_CI_31PT1309DStdRgCokeSide_1m_avg | CK67_L1R_CI_3AT1301COGCV_1m_avg | CK67_L1R_CI_BFGCV_1m_avg | CK67_ENVR_CI_SO2_1m_avg | CK67_ENVR_CI_NOx_1m_avg | CK67_ENVR_CI_Smoke_1m_avg | CK67_ENVR_CI_SmokeO2_1m_avg | CK67_ENVR_CI_SmokeTe_1m_avg | CK67_ENVR_CI_SmokeFlVel_1m_avg | CK67_ENVR_CI_AirVlm_1m_avg | CK67_ENVR_CI_SmokeH2O_1m_avg | CK67_ENVR_CI_SmokePI_1m_avg
23.30（前）
0:00
0:30
1:00
1:30
2:00
2:30
3:00
3:30
4:00
4:30
5:00
5:30
6:00
6:30
7:00
7:30
8:00
8:30
9:00
9:30
10:00
10:30
11:00
11:30
12:00
12:30
13:00
13:30
14:00
14:30
15:00
15:30
16:00
16:30
17:00
17:30
18:00
18:30
19:00
19:30
20:00
20:30
21:00
21:30
22:00
22:30
23:00
23:30
夜班平均
白班平均
中班平均
当天平均
夜班记事： | [10 empty] | 白班记事： | [7 empty] | 焦侧: 中班记事：
记录： 核实： | [10 empty] | 记录： 核实： | [7 empty] | 焦侧: 记录： 核实：

## _jiaore7_day_halfhour
CK67_L1R_CI_32FT1301COGHePipe_1m_avg | CK67_L1R_CI_32FT1301COGHePipeAcc_1m_avg | CK67_L1R_CI_32FT1304MCOGPusherSide_1m_avg | CK67_L1R_CI_32FT1304MCOGPusherSideAcc_1m_avg | CK67_L1R_CI_32FT1305MCOGCokeSide_1m_avg | CK67_L1R_CI_32FT1305MCOGCokeSideAcc_1m_avg | CK67_L1R_CI_32FT1302BFGPusherSide_1m_avg | CK67_L1R_CI_32FT1302BFGPusherSideAcc_1m_avg | CK67_L1R_CI_32FT1303BFGCokeSide_1m_avg | CK67_L1R_CI_32FT1303BFGCokeSideAcc_1m_avg | CK67_L1R_CI_32PT1301COGHePipe_1m_avg | CK67_L1R_CI_32PT1302COGMainPipe_1m_avg | CK67_L1R_CI_32PT1303BFGHePipe_1m_avg | CK67_L1R_CI_32PT1304MIXGPusherSide_1m_avg | CK67_L1R_CI_32PT1305MIXGCokeSide_1m_avg | CK67_L1R_CI_32TE1301COGPreheaterFr_1m_avg | CK67_L1R_CI_32TE1302COGPreheaterBe_1m_avg | CK67_L1R_CI_32TE1303BFGMainPipe_1m_avg | CK67_L1R_CI_32PT1306FluePusherSide_1m_avg | CK67_L1R_CI_32PT1307FlueCokeSide_1m_avg | CK67_L1R_CI_32TE1304FluePusherSide_1m_avg | CK67_L1R_CI_32TE1305FlueCokeSide_1m_avg | CK67_L1R_CI_32TE1306AGasCollector_1m_avg | CK67_L1R_CI_32PT1311AGasCollector_1m_avg | CK67_L1R_CI_32TE1306BGasCollector_1m_avg | CK67_L1R_CI_32PT1312BGasCollector_1m_avg | CK67_L1R_CI_32PT1308AStdRgPusherSide_1m_avg | CK67_L1R_CI_32PT1308BStdRgPusherSide_1m_avg | CK67_L1R_CI_32PT1308CStdRgPusherSide_1m_avg | CK67_L1R_CI_32PT1308DStdRgPusherSide_1m_avg | CK67_L1R_CI_32PT1309AStdRgCokeSide_1m_avg | CK67_L1R_CI_32PT1309BStdRgCokeSide_1m_avg | CK67_L1R_CI_32PT1309CStdRgCokeSide_1m_avg | CK67_L1R_CI_32PT1309DStdRgCokeSide_1m_avg | CK67_L1R_CI_3AT1301COGCV_1m_avg | CK67_L1R_CI_3AT1302BFGCV_1m_avg | CK67_ENVR_CI_SO2_30s_cur | CK67_ENVR_CI_NOx_30s_cur | CK67_ENVR_CI_Smoke_30s_cur | CK67_ENVR_CI_SmokeO2_30s_cur | CK67_ENVR_CI_SmokeTe_30s_cur | CK67_ENVR_CI_SmokeFlVel_30s_cur | CK67_ENVR_CI_AirVlm_30s_cur | CK67_ENVR_CI_SmokeH2O_30s_cur | CK67_ENVR_CI_SmokePI_30s_cur | CK67_L1R_CI_PIDE_FIQ321301gai_SPOper_1m_avg | CK67_L1R_CI_PIDE_FIQ321304_SPOper_1m_avg | CK67_L1R_CI_PIDE_FIQ321305_SPOper_1m_avg |  | CK67_L1R_CI_PIDE_PRC321304_SPOper_1m_avg | CK67_L1R_CI_PIDE_PRC321305_SPOper_1m_avg | CK67_L1R_CI_PIDE_PRC321306_SPOper_1m_avg | CK67_L1R_CI_PIDE_PRC321307_SPOper_1m_avg
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500
2500

## _jhNo (hidden)
version | 7