## 6BF-煤气布袋除尘报表
6号高炉煤气布袋除尘器运行记录
编号：SGSSG-BSMCSA36-G001-01A
内容 时间 | 运行箱体个数 | 总管温度 |  | 总管压力 |  |  | 箱体最高温度 |  | 箱体最低温度 |  | 箱体最高压差 |  | 箱体最低压差 |  | 净煤气 |  |  | 反吹压差(kPa) |  |  | 1.2米放散塔温度 |  | 记事栏
|  | 荒煤气(℃) | 净煤气(℃) | 荒煤气(kPa) | 净煤气 (kPa) | 总压差(kPa) | 箱体号 | 温度值(℃) | 箱体号 | 温度值(℃) | 箱体号 | 压差值(kPa) | 箱体号 | 压差值(kPa) | 流量(m3/h) | 阀后压力(kPa) | 含尘量(mg/m3) | 时间 | 前 | 后 | 最高(℃) | 最低(℃)
1 | [22 empty] | 零点班: 值班人员:
2
3
4
5
6
7
8
9 | [22 empty] | 白班: 值班人员:
10
11
12
13
14
15
16
17 | [22 empty] | 中班: 值班人员:
18
19
20
21
22
23
24
Note on R5: 何茂成: 仅计算正在运行箱体的含尘了平均值
Note on T5: 何茂成: 取前面”时间“点由0到1时间前1min的压差
Note on U5: 何茂成: 取前面”时间“点由1到0时间点后1min的压差
Note on V5: 何茂成: 1H内最大值
Note on W5: 何茂成: 1h内最小值

## _tag_day_hour
BF6_L2C_DEDUST_DB_COM_XF1_1m_max | BF6_L2C_DEDUST_DB_COM_XF2_1m_max | BF6_L2C_DEDUST_DB_COM_XF3_1m_max | BF6_L2C_DEDUST_DB_COM_XF4_1m_max | BF6_L2C_DEDUST_DB_COM_XF5_1m_max | BF6_L2C_DEDUST_DB_COM_XF6_1m_max | BF6_L2C_DEDUST_DB_COM_XF7_1m_max | BF6_L2C_DEDUST_DB_COM_XF8_1m_max | BF6_L2C_DEDUST_DB_COM_XF9_1m_max | BF6_L2C_DEDUST_DB_COM_XF10_1m_max | BF6_L2C_DEDUST_DB_COM_XF11_1m_max | BF6_L2C_DEDUST_DB_COM_XF12_1m_max | BF6_L2C_DEDUST_DB_COM_XF13_1m_max | BF6_L2C_DEDUST_DB_COM_XF14_1m_max | BF6_L2C_DEDUST_DB_COM_XF15_1m_max | BF6_L2C_DEDUST_DB_COM_XF16_1m_max | BF6_L2C_DEDUST_DB_COM_XF17_1m_max | BF6_L2C_DEDUST_DB_COM_XF18_1m_max | BF6_L2C_DEDUST_DB_Analog_IW684_OUT_1m_avg | BF6_L2C_DEDUST_DB_Analog_IW668_OUT_1m_avg | BF6_L2C_DEDUST_DB_Analog_IW762_OUT_1m_avg | BF6_L2C_DEDUST_DB_Analog_IW826_OUT_1m_avg | BF6_L2C_DEDUST_TE_XT1_1m_avg | BF6_L2C_DEDUST_TE_XT2_1m_avg | BF6_L2C_DEDUST_TE_XT3_1m_avg | BF6_L2C_DEDUST_TE_XT4_1m_avg | BF6_L2C_DEDUST_TE_XT5_1m_avg | BF6_L2C_DEDUST_TE_XT6_1m_avg | BF6_L2C_DEDUST_TE_XT7_1m_avg | BF6_L2C_DEDUST_TE_XT8_1m_avg | BF6_L2C_DEDUST_TE_XT9_1m_avg | BF6_L2C_DEDUST_TE_XT10_1m_avg | BF6_L2C_DEDUST_TE_XT11_1m_avg | BF6_L2C_DEDUST_TE_XT12_1m_avg | BF6_L2C_DEDUST_TE_XT13_1m_avg | BF6_L2C_DEDUST_TE_XT14_1m_avg | BF6_L2C_DEDUST_TE_XT15_1m_avg | BF6_L2C_DEDUST_TE_XT16_1m_avg | BF6_L2C_DEDUST_TE_XT17_1m_avg | BF6_L2C_DEDUST_TE_XT18_1m_avg | BF6_L2C_DEDUST_PA_XT1_JK_1m_avg | BF6_L2C_DEDUST_PA_XT2_JK_1m_avg | BF6_L2C_DEDUST_PA_XT3_JK_1m_avg | BF6_L2C_DEDUST_PA_XT4_JK_1m_avg | BF6_L2C_DEDUST_PA_XT5_JK_1m_avg | BF6_L2C_DEDUST_PA_XT6_JK_1m_avg | BF6_L2C_DEDUST_PA_XT7_JK_1m_avg | BF6_L2C_DEDUST_PA_XT8_JK_1m_avg | BF6_L2C_DEDUST_PA_XT9_JK_1m_avg | BF6_L2C_DEDUST_PA_XT10_JK_1m_avg | BF6_L2C_DEDUST_PA_XT11_JK_1m_avg | BF6_L2C_DEDUST_PA_XT12_JK_1m_avg | BF6_L2C_DEDUST_PA_XT13_JK_1m_avg | BF6_L2C_DEDUST_PA_XT14_JK_1m_avg | BF6_L2C_DEDUST_PA_XT15_JK_1m_avg | BF6_L2C_DEDUST_PA_XT16_JK_1m_avg | BF6_L2C_DEDUST_PA_XT17_JK_1m_avg | BF6_L2C_DEDUST_PA_XT18_JK_1m_avg | BF6_L2C_DEDUST_PA_XT1_CK_1m_avg | BF6_L2C_DEDUST_PA_XT2_CK_1m_avg | BF6_L2C_DEDUST_PA_XT3_CK_1m_avg | BF6_L2C_DEDUST_PA_XT4_CK_1m_avg | BF6_L2C_DEDUST_PA_XT5_CK_1m_avg | BF6_L2C_DEDUST_PA_XT6_CK_1m_avg | BF6_L2C_DEDUST_PA_XT7_CK_1m_avg | BF6_L2C_DEDUST_PA_XT8_CK_1m_avg | BF6_L2C_DEDUST_PA_XT9_CK_1m_avg | BF6_L2C_DEDUST_PA_XT10_CK_1m_avg | BF6_L2C_DEDUST_PA_XT11_CK_1m_avg | BF6_L2C_DEDUST_PA_XT12_CK_1m_avg | BF6_L2C_DEDUST_PA_XT13_CK_1m_avg | BF6_L2C_DEDUST_PA_XT14_CK_1m_avg | BF6_L2C_DEDUST_PA_XT15_CK_1m_avg | BF6_L2C_DEDUST_PA_XT16_CK_1m_avg | BF6_L2C_DEDUST_PA_XT17_CK_1m_avg | BF6_L2C_DEDUST_PA_XT18_CK_1m_avg | BF6_L2C_DEDUST_DG004F_1m_avg | BF6_L2C_DEDUST_DG003P_1m_avg | [18 empty] | BF6_L2C_DEDUST_DU_XT1_CK_1m_avg | BF6_L2C_DEDUST_DU_XT2_CK_1m_avg | BF6_L2C_DEDUST_DU_XT3_CK_1m_avg | BF6_L2C_DEDUST_DU_XT4_CK_1m_avg | BF6_L2C_DEDUST_DU_XT5_CK_1m_avg | BF6_L2C_DEDUST_DU_XT6_CK_1m_avg | BF6_L2C_DEDUST_DU_XT7_CK_1m_avg | BF6_L2C_DEDUST_DU_XT8_CK_1m_avg | BF6_L2C_DEDUST_DU_XT9_CK_1m_avg | BF6_L2C_DEDUST_DU_XT10_CK_1m_avg | BF6_L2C_DEDUST_DU_XT11_CK_1m_avg | BF6_L2C_DEDUST_DU_XT12_CK_1m_avg | BF6_L2C_DEDUST_DU_XT13_CK_1m_avg | BF6_L2C_DEDUST_DU_XT14_CK_1m_avg | BF6_L2C_DEDUST_DU_XT15_CK_1m_avg | BF6_L2C_DEDUST_DU_XT16_CK_1m_avg | BF6_L2C_DEDUST_DU_XT17_CK_1m_avg | BF6_L2C_DEDUST_DU_XT18_CK_1m_avg
[78 empty] | BF6_L2C_DEDUST_PA_XT1_CK_1m_avg | BF6_L2C_DEDUST_PA_XT2_CK_1m_avg | BF6_L2C_DEDUST_PA_XT3_CK_1m_avg | BF6_L2C_DEDUST_PA_XT4_CK_1m_avg | BF6_L2C_DEDUST_PA_XT5_CK_1m_avg | BF6_L2C_DEDUST_PA_XT6_CK_1m_avg | BF6_L2C_DEDUST_PA_XT7_CK_1m_avg | BF6_L2C_DEDUST_PA_XT8_CK_1m_avg | BF6_L2C_DEDUST_PA_XT9_CK_1m_avg | BF6_L2C_DEDUST_PA_XT10_CK_1m_avg | BF6_L2C_DEDUST_PA_XT11_CK_1m_avg | BF6_L2C_DEDUST_PA_XT12_CK_1m_avg | BF6_L2C_DEDUST_PA_XT13_CK_1m_avg | BF6_L2C_DEDUST_PA_XT14_CK_1m_avg | BF6_L2C_DEDUST_PA_XT15_CK_1m_avg | BF6_L2C_DEDUST_PA_XT16_CK_1m_avg | BF6_L2C_DEDUST_PA_XT17_CK_1m_avg | BF6_L2C_DEDUST_PA_XT18_CK_1m_avg
Note on CS1: 何茂成: 仅计算正在运行箱体的含尘了平均值

## _maxmin_day_hour
BF6_L2C_DEDUST_2_CMD_1m_avg
Note on A1: 何茂成: 1H内最大值

## _fanchui6_day_hour
BF6_L2C_DEDUST_DB_COM_PuffWorkNosrart_1m_max | BF6_L2C_DEDUST_DB_Analog_IW762_OUT_1m_avg | BF6_L2C_DEDUST_DB_Analog_IW826_OUT_1m_avg | BF6_L2C_DEDUST_DB_Analog_IW762_OUT_1m_avg | BF6_L2C_DEDUST_DB_Analog_IW826_OUT_1m_avg

## _dictionary
version | 6